EUMM

European Union Monitoring Mission

Krtsanisi Residential Area, 49 Krtsanisi Street, Tbilisi, Georgia

P.O. Box No. 69, 0102 Tbilisi 2, Georgia

Tel: + 995 (8) 32243719, Fax: + 995 (8) 32243718

www.eumm.eu

CORRIGENDUM N° 1

to the contract notice and tender dossier for the supply, delivery, installation and commissioning of generators and stabilizers at various premises operated by the EUMM Georgia

Publication Ref: EuropeAid/138207/DH/SUP/GE

Contract N°: EUMM-16-4553

Location: Georgia (GEO)

The contract notice and tender dossier referred to above are corrected or modified as follows:

Page 1 of the contract notice

Table under section 6 (‘Description of the contract’) – Item nº 5

| Instead of | Read |
| --- | --- |
| Stabilizer (minimum 400 kVA) | Stabilizer (minimum 500 kVA) |

Page 1 of the instructions to tenderers (Part A of the tender dossier)

Table under section 1.1 (‘Supplies and services to be provided’) – Item nº 5

| Instead of | Read |
| --- | --- |
| Stabilizer (minimum 400 kVA) | Stabilizer (minimum 500 kVA) |

Page 2 of the draft contract agreement (Part B of the tender dossier)

Table under section 1.1 (‘Subject’) – Item nº 5

| Instead of | Read |
| --- | --- |
| Stabilizer (minimum 400 kVA) | Stabilizer (minimum 500 kVA) |

Pages 12 and 13 of the technical specifications and technical offer (Part B of the tender dossier)

Item nº 5 (‘Stabilizer’) – Rows nº 1, 10, 11, 15, 17 and 18

| Instead of | Read |
| --- | --- |
| Stabilizer (minimum 400 kVA) | Stabilizer (minimum 500 kVA) |
| Minimum Power kVA - 400 | Minimum Power kVA - 500 |
| In. Voltage Current Interval – 275-450 VAC | In. Voltage Correct Interval – 275-450 VAC |
| Output Voltage – 380 VAC RMS+-%1 | Output Voltage – minimum 380 VAC RMS+-%2 |
| Correction Speed – 90 Volt/sec | Correction Speed – minimum 70 Volt/sec |
| Upturn Speed – 90Volts.Sec (160 VAC – 250 VAC) | Upturn Speed – approximately 90Volts.Sec (160 VAC – 250 VAC) |

All other terms and conditions of the contract notice and tender dossier nº EuropeAid/138207/DH/SUP/GE remain unchanged.

All information contained in this corrigendum shall now be considered an integral part of the contract notice and tender dossier nº EuropeAid/138207/DH/SUP/GE.